# 16s Sequencing Frequently Asked Questions

Q: What is 16S metagenomics workflow?

A: There are several steps involved in a 16S metagenomics project. These include Sample collection, DNA extraction, library construction, library quantification and pooling, sequencing, and data analysis.

- Sample collection. A robust sample collection protocol that maintains the integrity of samples is both important and challenging in microbiome studies. The microbial composition of samples may be adversely affected by the collection process. Please visit the following link to find out what’s the best collection method for your samples.

Zymo Research: https://www.zymoresearch.com/pages/sample-collections

Norgen BioTech: https://norgenbiotek.com/category/microbiome-collection-preservation-and-isolation

BD: https://www.bd.com/en-us/offerings/capabilities/specimen-collection/swab-based-specimen-collection/bd-bbl-cultureswab-ez-collection-and-transport-systems

- DNA extraction. The challenge here is to use a method that extracts DNA with “similar” efficiency for all microorganisms to reveal full diversity in the sample. Please check the following links to find out what extraction kit is best suited for your samples. You can always seek information from the expert in the field you are working on to see which kit/method they use.

PureLink™ Microbiome DNA Purification

Kit: https://www.thermofisher.com/order/catalog/product/A29790

Microbiome DNA Isolation Kit (Cat. 64100): https://norgenbiotek.com/product/microbiome-dna-isolation-kit

QIAamp DNA Microbiome Kit: https://www.qiagen.com/us/products/discovery-and-translational-research/dna-rna-purification/dna-purification/microbial-dna/qiaamp-dna-microbiome-kit/#orderinginformation

QIAamp DNA Stool Mini Kit: https://www.qiagen.com/us/spotlight-pages/ias/automated-qpcr-workflow/assay-setup/qiaamp-dna-stool-mini-kit/

E.Z.N.A.® Stool DNA Kit: https://www.omegabiotek.com/product/e-z-n-a-stool-dna-kit/

Meta-G-Nome™ DNA Isolation Kit for water: http://www.epibio.com/applications/nucleic-acid-purification-extraction-kits/dna-purification-genomic/meta-g-nome-dna-isolation-kit?details

- Library construction (16S amplicon or any other target). ICBR Gene Expression & Genotyping Core currently offers 16S library construction services using the “QIAseq 16S/ITS Region Panels and Index Kits” from Qiagen. If you are constructing your own libraries, we recommend the method described by Illumina and the barcoding reagents provided in the Nextera XT kit (Illumina Inc.). (https://support.illumina.com/documents/documentation/chemistry_documentation/16s/16s-metagenomic-library-prep-guide-15044223-b.pdf). The method consists of two sequential PCR

reactions. You will need to order HPLC- purified primers and PCR reagents for the first reaction. The first PCR is exactly the same for every sample. In contrast, the second PCR reaction is unique for every sample because you need a unique barcode for each sample. You can barcode up to 192 samples to be pooled for a single MiSeq run (2x300 cycles), using the Nextera XT kit (Index Kit v2 Set A and Set B). Other library construction protocols are also accepted. These include, for example, libraries constructed with the QIAseq 16S/ITS Kit, or custom protocols as described in the literature.

- Library quantification and pooling. Use QUBIT to estimate concentration, and the TapeStation (or Bioanalyzer) for sizing. If you have followed the Illumina recommended method for amplifying variable regions 3 and 4, the size of your library should be ~600 bp. Calculate molarity using QUBIT concentration and average size on TapeStation, and pool equimolarly.

- Sequencing. For 16S (variable regions 3 and 4), we recommend MiSeq i100, 2x300 cycles with 20% PhiX spike-in and 10 pM loading.

  - For 16S projects starting with library construction at ICBR GE core, the pooled library will be transferred directly to NextGen core for sequencing run. One of the advantages of the QIAseq 16S/ITS Kit is that it incorporates phased primers that increase base diversity, leading to higher Q30 scores (and more usable reads) and eliminating the need to add PhiX, increasing the available reads. If you also need support with data analysis, please contact the Bioinformatics core (ICBR-Bioinformatics@ad.ufl.edu).

  - For premade 16S libraries, please submit pool to the ICBR NextGen DNA sequencing core. We feel that it is best practice to request independent library pool evaluation services before sequencing, including quantification of “functional” library molecules by qPCR. You can choose to decline these services, in which case you will need to provide the core with all QC data for your pool, plus detailed conditions for the MiSeq sequencing run set up. We need at least 15 ul at 10 nM (~3-5 ng/ul). To do so, your lab will need to have a CrossLab account (PI and lab members). From our website (www.biotech.ufl.edu), use your account credentials to login CrossLab and select UF-ICBR core. Navigate to the NextGen Sequencing core> Illumina sequencing services> MiSeq, etc. to fill out service request form.

- Data analysis. You will need to do that on your own using your preferred method or select data analysis services in your submission form. If you decide to request data analysis support, the ICBR Bioinformatics Core can do this for a fee and will contact you to discuss the process (ICBR-Bioinformatics@ad.ufl.edu).

Q: What are the DNA quality Requirements?

A: High sample quality is essential for successful 16S metagenomics experiments. Please ensure that your DNA sample:

- Is double-stranded. Single-stranded DNA will not be adapted in this template preparation process and can interfere with quantitation and polymerase binding.

- Has undergone a minimum of freeze-thaw cycles.

- Has not been exposed to high temperatures (> 65ºC for 1 hour can cause a detectable decrease in sequence quality), pH extremes (< 6 or > 9).

- Is intact during size-selection. If purifying DNA from a gel fragment, DO NOT use ethidium bromide for staining. We recommend SYBR Safe DNA Gel Stain with visualization on a blue light box (https://www.thermofisher.com/us/en/home/life-science/dna-rna-purification-